## Slide 1
3 / 6
Silicon Transduction Mechanisms
MEASURAND | EFFECT | SILICON SENSING PRINCIPLE
Magnetic field | Hall effect | Transverse voltage in current-carrying plate
Temperature diff. | Seebeck effect | Thermopile: series-connected junctions
Mechanical strain | Piezoresistive | Resistance change under stress (doping-dependent)
Light | Photoelectric | Photodiode / phototransistor array
Indirect Sensing — measuring what silicon can't sense directly
Humidity → polymer dielectric | Gas → metal oxide resistance | Force → membrane deflection